## 2022 RA assets
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | CSESM |  | Chukchi Sea Ecosystem Mooring (CSESM) Array | Hannah Shoal subsurface ecosystem mooring; Seabird 37sm, SBE SEAPHox, Contros HYDRO-C, Satlantic SUNA, Hydrobios, Aural Sequoia LISST, Teledyne ADCP, Aanderaa RCM9, | 71.6 | -161.5 | moored_buoy | 2015-09-01 | Y | AOOS, NPRB, UAF, others | Yp | UAF_CFOS | Academic | UAF | AOOS | sea_water_temperature (35m, 48m, near-bottom), sea_water_electrical_conductivity (35m, 48m, near-bottom), sea_water_practical_salinity (35m, 48m, near-bottom), current_velocity (3-30 m, 1m bins; near-bottom), sea_surface_wave_significant_height, sea_surface_wave_to_direction, sea_surface_wave_mean_period, nitrate (35m), dissolved_oxygen (35 m), sea_water_pH_reported_on_total_scale (35 m), partial_pressure_of_carbon_dioxide_in_sea_water (35 m), sediment_trap_parameters (38m), fish_and_plankton_acoustic_profile (0.5-30m in 4 cm bins), partical_size_spectra (35 m), sea_water_pressure (35 m, near bottom) | Rotated Annually. ~1 year lag on data ingestion. NOT SURE OF CF NAMES for all these variables as it depends on the units; Not sure what sediment trap parameters are being reported; not sure CF name for fish and plankton acoustics; not sure CF name for partical size. These data are being processed in the workspace…as soon as I know the variables reported out, I will update. 2018 (KB: Don't worry about CF names, I'll figure it out). We are still working on how to best host these data which are being stored on the NPRB Workspace...data are likely to made into a catalogue item where it is downloadable, but not visualized. This poses complications for Axiom, but I am working on it. We have been getting the data.
AOOS | urn:gulf-of-alaska-ecosystem-obse |  | Gulf of Alaska Ecosystem Observatory-GEO1 | Surface real time mooring: CDOM, 150kHz ADCP, SBE 37 TSP, ITP (Profiling CTD_ conductivity, temperature, pressure, salinity, depth, Chlorophyll, CDOM, OBS, DO, NO3), GPS, wind speed, wind direction, air temp, relative humidity, dew point, barometric pressure, downwelling photosynthetic photon flux in sea water | 59.0142 | -148.6902 | Fixed moored_buoy | 2019-07-11 | Y | M.J. Murdock Charitable Trust, AOOS, NPRB, Gulf Watch (Exxom Valdez Oil Spill Trustees Council) , UAF, NSF-LTER, others | Yp | UAF_CFOS | Academic | UAF | AOOS | Real time mooring: 150kHz ADCP (205m), SBE 37 TSP (205m), ITP (Profiling CTD: sea_water_electrical_conductivity, sea_water_temperature, sea_water_pressure, sea_water_practical_salinity, depth, mass_concentration_of_chlorophyll_in_sea_water, CDOM, OBS, DO, NO3); GPS, wind_speed, wind_from_direction, air_temperature, relative_humidity, dew_point_temperature, air_pressure, downwelling_photosynthetic_photon_flux_in_sea_water (1m), mass_concentration_of_chlorophyll_in_sea_water (1m) | The buoy was not serving real time data feeds from the profiling CTD the ADCP current meter. The Surface MET sensors and the 1 m fluorometer and PAR were reporting data realtime in 2019. Will work on WMO assignments if and when this mooring becomes fully operational. This buoy stopped reporting real time data in Dec of 2019.
AOOS | urn:gulf-of-alaska-ecosystem-obse-1 |  | Gulf of Alaska Ecosystem Observatory-GEO3 | Surface real time mooring: GPS, wind speed, wind direction, air temp, relative humidity, dew point, barometric pressure, Chlorophyll | 59.0165 | -148.696 | Fixed moored_buoy | 2019-07-11 | Y | M.J. Murdock Charitable Trust, AOOS, NPRB, Gulf Watch (Exxom Valdez Oil Spill Trustees Council) , UAF, NSF-LTER, others | Yp | UAF_CFOS | Academic | UAF | AOOS | Real time mooring: GPS, wind_speed, wind_from_direction, air_temperature, relative_humidity, dew_point_temperature, air_pressure, mass_concentration_of_chlorophyll_in_sea_water (5m), sea_water_electrical_conductivity (5m), downwelling_photosynthetic_photon_flux_in_sea_water (5m), sea_water_temperature (5m), sea_water_practical_salinity (5m) | Note: The 5 m SBE 37 CTD (Conductivity, temperature, pressure and salinity) was not reporting for this mooring. It stopped reporting data after a storm on November 11, 2019. It is not clear why. Surface buoy MET and PAR variables stopped reporting meaningful values after a storm Dec 9. Will work on WMO assignments if and when this mooring is fully operational. WMO still not established in 2021. Stopped reporting real time Sep 22, 2021.
AOOS | urn:ioos:station:org.gulfwatchalaska:GAK1 |  | Oceanographic Station GAK1 | Longterm non-realtime physcial parameters mooring since 1998; Resurrection Bay, Seward | 59.845 | -149.4667 | moored_buoy | 1905-06-20 | Y | UAF, Exxon Valdez Oil Spill Trustees Council, and multiple entities over the years (NSF NE Pacific GLOBEC, NPRB) | N | UAF_CFOS | Academic | UAF CFOS | UAF, AOOS | NOT REAL TIME: sea_water_temperature (30 m, 60 m, 100 m, 150 m, 200 m, 250 m), sea_water_electrical_conductivity (30 m, 60 m, 100 m, 150 m, 200 m, 250 m), sea_water_salinity (30 m, 60 m, 100 m, 150 m, 200 m, 250 m) | Subsurface mooring collecting CTD paramaters; http://www.ims.uaf.edu/gak1/; http://www.gulfwatchalaska.org/monitoring/environmental-drivers/gulf-of-alaska-mooring-gak1-monitoring/
AOOS | urn:ioos:station:gov.noaa.pmel:GAK_Seward |  | GAKOA-Gulf of Alaska Ocean Acidification Mooring | Resurrection Bay, Seward, Real-time OA parameters | 59.85 | -149.5 | moored_buoy | 2011-05-19 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water, sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure | Though AOOS Supported, these data are Not reporting to the AOOS Portal since January 2020. NOAA is providing sole real time access to these data from now on.
AOOS | urn:ioos:station:gov.noaa.pmel:m2 |  | Ocean Acidification Mooring M2 and Ecosytem Observatory | Bering Sea, Real-time OA parameters | 56.87 | -164.06 | moored_buoy | 1905-07-03 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA, PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water , sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure | Though AOOS Supported, the data are Not reporting to the AOOS Portal since January 2020. NOAA is providing sole real time access to these data from now on. AOOS supports both OA sensors on this mooring and is contirbuting to the build-out of this mooring into a full Ecosystem Observatory (Like CEO and GEO) for the southern Bering Strait.
AOOS | urn:ioos:station:org.mxak:AKUTAN_WX | AKXA2 | Akutan, Port | WEATHER (no AIS); AIS LOCATED AT DIFFERENT SPOT | 54.1321 | -165.7818 | Fixed | 06/14/17; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:ANCHORAGE_PORT | APMA2 | Anchorage Port | AIS TRANSCEIVER WITH WEATHER | 61.2387 | -149.8888 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | org_mxak_bethel | BEXA2 | Bethel | Weather (not sure if there is AIS there) | 60.7915 | -161.7487 | Fixed | 2019-12-28 | Y | AOOS | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in 2019 but AOOS not reporting until 2020
AOOS | urn:ioos:station:org.mxak:CAPE_DECISION | CDXA2 | Cape Decision | AIS STATION WITH WEATHER | 56.0015 | -134.136 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | went offline August 2020. Back online in 2021.
AOOS | cape-spencer-1 |  | Cape Spencer | AIS STATION WITH WEATHER | 58.1988 | -136.6401 | Fixed | 2021-06-22 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Installed in June 2021, but data did not start on AOOS Portal until December 8, 2021
AOOS | urn:ioos:station:org.mxak:CAPTAINS_BAY | CPXA2 | Captains Bay - Dutch Harbor | WEATHER (No AIS) | 53.8429 | -166.5832 | Fixed | 2018-12-12 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:CORDOVA_WX |  | Cordova | AIS TRANSCEIVER WITH WEATHER | 60.5424 | -145.766 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | urn:ioos:station:org.mxak:DEAD_HORSE | DHXA2 | Deadhorse, Prudhoe Bay | AIS TRANSCEIVER WITH WEATHER | 70.2224 | -148.4193 | Fixed | 10/01/15; 9/30/2015 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | AOOS webstie record starts September 15, 2015. It was installed Spring of 2015
AOOS | urn:ioos:station:org.mxak:DUTCH_HARBOR_APL | DPLA2 | Dutch Harbor APL | WEATHER (NO AIS) | 53.8836 | -166.5313 | Fixed | 05/05/15; 4/16/2015 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org_mxak_dutch_harbor_pilotst | DPXA2 | Dutch Harbor PilotSta | Weather, not sure about AIS | 53.8891 | -166.5421 | Fixed | 2018-12-12 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | air_temperature, air_pressure, dew_point_temperature, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Not sure why this not on 2019 inventory, but we may not have started posting data until 2020. IT happens.
AOOS | urn:ioos:station:org.mxak:DUTCH_HARBOR_PORT_OFFICE | DPOA2 | Dutch Harbor - Port Office | WEATHER (NO AIS) | 53.9027 | -166.5284 | Fixed | 07/02/15; 5/5/15 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:ELDRED_ROCK | ERXA2 | Eldred Rock | AIS STATION WITH WEATHER | 58.9713 | -135.2208 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:GAMBELL | BGBXA2 | Gambell, St. Lawrence Island | Weather and AIS eATON/Transceiver | 63.7769 | -171.7153 | Fixed | 2019-05-31 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | org_mxak_george_island | GEXA2 | George Island | Weather and AIS | 58.2118 | -136.3813 | Fixed | 2019-12-22 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in late 2019. Not reporting on AOOS until 2020
AOOS | grave-point | GPXA2 | Grave Point | Weather and AIS | 58.0622 | -134.0511 | Fixed | 2021-06-04 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Installed June 2021, but not reporting data on AOOS Portal until December 8, 2021
AOOS | urn:ioos:station:org.mxak:GUARD_ISLAND | GIXA2 | Guard Island | WEATHER (NO AIS) | 55.4464 | -131.881 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:GUSTAVUS | GUXA2 | Gustavus Dock | AIS TRANSCEIVER WITH WEATHER | 58.4077 | -135.7263 | Fixed | 9/19/2014; 07/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Need to check install date (2014) vs date AOOS started reporting (July 2017)
AOOS | urn:ioos:station:org.mxak:HAINES | HAXA2 | Haines Harbor | AIS TRANSCEIVER WITH WEATHER | 59.2341 | -135.4417 | Fixed | 09/01/15; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Need to check install date (2015) vs date AOOS started reporting (July 2017)
AOOS | urn:ioos:station:org.mxak:HOMER_SPIT | HMSA2 | Homer Spit (Homer Port) | AIS TRANSCEIVER WITH WEATHER | 59.6021 | -151.4174 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:ICY_BAY | ICYA2 | Icy Bay | AIS STATION WITH WEATHER | 59.9235 | -141.3586 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:JUNEAU_AML | JMLA2 | Juneau AML | AIS TRANSCEIVER WITH WEATHER | 58.2855 | -134.3899 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:JUNEAU_AJ_DOCK | AJXA2 | Juneau AJ Dock | Weather (no AIS) | 58.2872 | -134.398 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:JUNEAU_ANG_DOCK | JNGA2 | Juneau ANG Dock | Weather (no AIS) | 58.2907 | -134.394 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:JUNEAU_LIBRARY | JLXA2 | Juneau Library | Weather (no AIS) | 58.2982 | -134.4045 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:KENAI | KNXA2 | Kenai | AIS TRANSCEIVER WITH WEATHER | 60.5319 | -151.253 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:KETCHIKAN | KEXA2 | Ketichikan Harbor | Weather | 55.3516 | -131.6839 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SALMON_LANDING | SLXA2 | Ketchikan, Salmon Landing | WEATHER (no AIS) | 55.3395 | -1331.6442 | Fixed | 2017-07-28 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:KODIAK_GULL_ISLAND | KGXA2 | Kodiak, Gull Island | WEATHER (NO AIS) | 57.7773 | -152.4252 | Fixed | 5/24/2016; 12/12/18 | N | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | kodiak_matson_crane | KMXA2 | Kodiak Matson Crane | Weather (AIS Status unknown) | 57.7821 | -152.4338 | Fixed | 2021-01-28 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:LITTLE_ISLAND | LIXA2 | Little Island | WEATHER (NO AIS) | 58.54 | -135.0471 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:MARMION_ISLAND | MRNA2 | Marmion Island | WEATHER (NO AIS) | 58.1984 | -134.2568 | Fixed | 2015-05-15 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:MARY_ISLAND | MRYA2 | Mary Island | AIS STATION WITH WEATHER | 55.0991 | -131.1821 | fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:MENDENHALL_VALLEY | MVXA2 | Mendenhall Valley | AIS STATION WITH WEATHER | 58.3641 | -134.6059 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:MIDDLETON_ISLAND |  | Middleton Island | AIS TRANSCEIVER WITH WEATHER | 59.4377 | -146.3275 | Fixed | 2015-09-30 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | midway-island | MIXA2 | Midway Island | AIS TRANSCEIVER WITH WEATHER | 57.8368 | -133.8141 | Fixed | 2021-06-07 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Data started at Axiom 12/8/21
AOOS | urn:ioos:station:org.mxak:MXAK_OFFICE | MXXA2 | MXAK Office | WEATHER (NO AIS) | 58.3014 | -134.4258 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NAKED_ISLAND | NKXA2 | Naked Island | AIS ATon with WEATHER | 58.2553 | -134.945 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | nelson-lagoon-1 | NLXA2 | Nelson Lagoon | Weather (AIS Status unknown) | 56.005 | -161.1772 | Fixed | 2021-01-21 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NIKISKI | NSXA2 | Nikiski | AIS STATION WITH WEATHER | 60.7397 | -151.3105 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NIKOLSKI | NKLA2 | Nikolski White Alice | AIS STATION WITH WEATHER | 52.9721 | -168.8554 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:NOME | NMXA2 | Nome WX, Port Breakwater | WEATHER (no AIS); AIS AT DIFFERENT NOME LOCALE | 64.494 | -165.44 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | The weather station is called NOME WX. There is also a webcam there, referred to as NOME Port Entrance.
AOOS | pelican-ak | PEXA2 | Pelican, AK | Weather (AIS Status unknown) | 57.9578 | -136.2266 | Fixed | 2022-08-09 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:POINT_ARDEN | PAXA2 | Point Arden, AK | Weather, not sure about AIS | 58.1953 | -134.178 | Fixed | 2018-12-12 | Y | Marine Exchange of Alaska | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC | air_temperature, air_pressure, relative_humidity, wind_speed, wind_from_direction, battery_voltage | Found it on AOOS portal, reporting since 2018, was offline a bit in early 2019, but reporting otherwise.
AOOS | urn:ioos:station:org.mxak:POINT_GARDNER | PGXA2 | Point Gardner | WEATHER (no AIS) | 57.0155 | -134.6183 | Fixed | 5/22/2017; 07/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | point-pigot-ak | PPXA2 | Point Pigot, AK | Weather (AIS Status unknown) | 60.8008 | -148.3571 | Fixed | 2022-08-09 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:PORTLAND_ISLAND | PTLA2 | Portland Island | WEATHER (NO AIS) | 58.3464 | -134.7523 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:ROCKY_ISLAND | RIXA2 | Rocky Island | WEATHER (NO AIS) | 58.1771 | -135.0515 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SAVOONGA | SVXA2 | Savoonga, St. Lawrence Island | Weather and AIS eATON/Transceiver | 63.6926 | -170.4922 | Fixed | 2019-05-31 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Stations with Transceivers can transmit weather obs real time to mariners, bypassing the need for internet service. MXAK is upgrading many stations to include ATONs for this purpose, when they install weather sensors.
AOOS | saxman-seaport | SXXA2 | Saxman Seaport (SAXMAN LANDING) | Weather, not sure about AIS | 55.3146 | -131.5962 | Fixed | 2021-01-28 | Y | AOOS, MXAK | Y | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New installation, not sure if there is AIS here, but likely so.
AOOS | urn:ioos:station:org.mxak:SCULL_ISLAND | SCXA2 | Scull Island | WEATHER (NO AIS) | 58.2047 | -134.6458 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SEWARD_HARBOR | SWXA2 | Seward Harbor | AIS TRANSCEIVER WITH WEATHER | 60.1156 | -149.4342 | Fixed | 06/06/16; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org_mxak_ship_island | SPXA2 (PRIOR SIXA2) | Ship Island | Weather and AIS | 53.5989 | -132.2032 | Fixed | 2019-12-22 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | air_temperature, air_pressure, dew_point_temperature, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Installed in 2019, but was not hosting data until late in 2019 after the AI was submitted with the semi-annual report
AOOS | urn:ioos:station:org.mxak:SITKA_AML | STXA2 | Sitka AML | AIS TRANSCEIVER WITH WEATHER | 57.1163 | -135.3907 | Fixed | 04/08/16; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:SITKA_HARBOR | SHXA2 | Sitka Harbor | AIS STATION WITH WEATHER | 57.0555 | -135.3494 | Fixed | 04/27/16; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:SKAGWAY_WX | SKXA2 | Skagway Port | Weather (no AIS) | 59.4484 | -135.3264 | Fixed | 02/02/16; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | st-george-pribilof-islands-ak | SGXA2 | St George (Pribilof Islands), AK | Weather (AIS Status unknown) | 56.5995 | -169.5416 | Fixed | 2022-09-09 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Station installed using Fill-the-Gaps funding
AOOS | st-paul-pribilof-islands-ak | PAUA2 | St Paul (Pribilof Islands), AK | Weather (AIS Status unknown) | 57.1235 | -170.2708 | Fixed | 2022-09-09 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Station installed using Fill-the-Gaps funding
AOOS | urn:ioos:station:org.mxak:Tenakee_Springs | TKEA2 | Tenakee Springs | AIS STATION WITH WEATHER | 57.7792 | -135.2192 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | org_mxak_tree_point | TPXA2 | Tree Point | Weather and AIS eATON/Transceiver | 54.8026 | -130.9344 | Fixed | 2019-12-22 | Y | MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | MXAK, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in late 2019. Not reporting until after AOOS submitted 2019 AI
AOOS | urn:ioos:station:org.mxak:BARROW | UQXA2 | Utqiagvik (Barrow) | AIS TRANSCEIVER WITH WEATHER | 71.3149 | -156.7218 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:VALDEZ | VDXA2 | Valdez Port | AIS TRANSCEIVER with Weather | 61.1271 | -146.3439 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | urn:ioos:station:org.mxak:WAINWRIGHT | WRXA2 | Wainwright | AIS STATION WITH WEATHER | 70.6363 | -160.0337 | Fixed | 08/01/18; 12/12/2018 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | ward-cove | WCXA2 | Ward Cove | AIS STATION WITH WEATHER | 55.4018 | -131.7293 | Fixed | 12/5/2021 data starts | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Station was installed earlier this year but AOOS notifed in December, but Data started at Axiom 12/5/21
AOOS | urn:ioos:station:org.mxak:WHITTIER_AMHS | WIXA2 | Whittier, AMHS | AIS TRANSCEIVER WITH WEATHER | 60.7767 | -148.6823 | Fixed | 05/09/17; 7/26/2017 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:aoos:204 | 46108 | Lower Cook Inlet, AK CDIP Wave Buoy 204 | Year-round real-time water level buoy near Homer, AK; Datawell Directional Buoy | 59.5973 | -151.8291 | wave_buoy | 2015-04-13 | Y | AOOS, CDIP (USACE) | YP | AOOS (operattor), CDIP (owner) | nonprofit | AOOS | CDIP | sea_surface_wave_to_direction, sea_surface_wave_mean_period, sea_surface_wave_significant_height, sea_surface_dominant_wave_period, sea_water_temperature | CDIP buoys are owned by CDIP, so we are Yp for funding sponsor. Changed platform maintainer to AOOS only, since we are now contracting to service this buoy.
AOOS | urn:ioos:station:scripps-institution-of-oceano:241 | 46265 | Nome, AK CDIP Wave Buoy 241 | Seasonal real-time water level offshoreport of Nome, AK; Datawell Directional wave buoy | 64.4723 | -165.4743 | Wave_buoy | 7/10/2018 - 10/17/18 (first seasonal deployment); 06/11/19 - 10/18/19; 08/26/20-09/09/20 - buoy flooded after deployment; 2021 no deployment; 07/31/22 - 10/12/22 | Y, O | AOOS, CDIP (USACE), Port of Nome | Yp | AOOS (operattor), CDIP (owner) | nonprofit | AOOS and Port of Nome | CDIP | sea_surface_wave_significant_height, sea_water_temperature, sea_surface_dominant_wave_period, sea_surface_wave_to_direction, sea_surface_wave_mean_period, direction_of_sea_water_velocity (0.75m), sea_water_speed (0.75m) (surface current info discontinued in 2020) | This buoy not deployed in 2021. This buoy is not wholly paid for by AOOS (shipping, OnM, and insurance); CDIP provides the buoy, manages data. Buoy reports RT and is seasonal during iceout period. In 2020, the buoy deployed no longer had suface current sensor (we changed buoys for one without currents). Unfortunately, this buoy was deployed late Aug 26, 2020 and leaked and was recovered a few days after it deployed on Sep 9, 2020.
AOOS | urn:ioos:station:com.alyeska:aly_base_hr |  | Alyeska Resort Base | Alyeska Ski Resort weather | 60.9694 | -149.0966 | Fixed | 5/5/2015; 8/3/16 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2015 | air_temperature, relative_humidity, preciptation_increment | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:maxsmtn |  | Alyeska Resort Max's Mountain | Alyeska Ski Resort weather | 60.9483 | -149.0871 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2018 | air_temperature, relative_humidity, wind_speed, wind_from_direction, wind_speed_of_gust | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:aly_mid_hr |  | Alyeska Resort, Mid Mountain | Alyeska Ski Resort weather | 60.9724 | -149.0819 | Fixed | 5/5/2015; 08/31/16 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2016 | air_temperature, relative_humidity, preciptation_increment, surface_snow_thickness | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:summitsite |  | Alyeska Resort Summit | Alyeska Ski Resort weather | 60.9568 | -149.0611 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2019 | air_temperature, relative_humidity, solar_radiation, wind_speed, wind_from_direction, wind_speed_of_gust | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:ALY_TOP_HR |  | Alyeska Resort, Top of Glacier Bowl Express | Alyeska Ski Resort weather | 60.9628 | -149.0707 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2017 | air_temperature, precipitation_increment, winds_speed, wind_from_direction, wind_speed_of_gust | cross checked and correctied. cf says preciptation_amount, "Amount" means mass per unit area. "Precipitation" in the earth's atmosphere means precipitation of water in all phases. Axiom is using the non-cf name 'precipitation_increment' to describe precipitation values reported as a rate of accumulation measured as length over time, e.g. 'mm/hr'. What we call 'precipitation (accumulation)' maps to the cf-name 'lwe_thickness_of_precipitation_amount' doesn't contain a time component, though we create something like that for each time-step or bin of values we show in the portal.
AOOS | kodiak-burke-o-lator-kodiak-ak |  | Kodiak Burke-o-Lator, Kodiak, AK | NOAA AFSC Operated Kodiak Burke-o-Lator, Kodiak, AK | 57.79 | -152.41 | Fixed | 2022-10-01 | Y | NOAA AFSC, AOOS | Yp | NOAA Alaska Fisheries Science Center (AFSC) | Federal | NOAA AFSC | IPACOA and NOAA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | AOOS started supporting BOL operatrions in Kodiak in 2021-2022.
AOOS | urn:ioos:station:org.hakai:Sitka |  | Sitka Burke-o-Lator | Sitka Tribe of Alaska Burke-O-Lator | 57.0526 | -135.3456 | Fixed | 2017-06-27 | Y | BIA Climate Change Grant | Yp | Sitka Tribe of Alaska | Tribal | Sitka Tribe of Alaska, Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | AOOS supports BoL OnM through Hakai and provided support to Sitka in 2018-19 directly. Not sure why DO is not included in the suite for Burkolators. Need to look into this. AOOS continues to support this BOL in 2021-23.
AOOS | org_hakai_quadra |  | Hyacinthe Bay, BC Buke-o-Lator | Hyancinthe Bay in British Columbia, operated by Hakai Inst. | 50.116 | -125.222 | Fixed | 2018-06-30 | Y | Hakai Institute, Tula Foundation | N | Hakai Institute | nonprofit, Research | Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | AOOS now hosts Hakai BC (Canada) real time OA data from this location
AOOS | barry-arm-east |  | Barry Arm East | MET Station In East Barry Arm Fjord, Prince William Sound | 61.1317 | -148.1233 | Fixed | 2021-09-08 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | dew_point_temperature, relative_humidity, lwe_thickness_of_precipitation_amount, air_temperature, wind_speed_15_minute_average, wind_speed_instantaneous, wind_from_direction, atmosphere_net_rate_of_absorption_of_energy | Barry Arm East weather station is located on the east side of the northern Barry Arm fjord, northwest Prince William Sound, Alaska. This station is part of the observational infrastructure deployed to study landslides and was funded through a cooperative agreement with USGS.
AOOS | barry-arm-west |  | Barry Arm West | MET Station In West Barry Arm Fjord, Prince William Sound | 61.1418 | -148.1749 | Fixed | 2021-09-04 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | dew_point_temperature, relative_humidity, lwe_thickness_of_precipitation_amount, air_temperature, wind_speed_15_minute_average, wind_speed_instantaneous, wind_from_direction, atmosphere_net_rate_of_absorption_of_energy | Barry Arm East weather station is located on the east side of the northern Barry Arm fjord, northwest Prince William Sound, Alaska. This station is part of the observational infrastructure deployed to study landslides and was funded through a cooperative agreement with USGS.
AOOS | harbor-mountain-1 |  | Harbor Mountain, SE Alaska | MET Station on Harbor Mountain in SE AK, near Sitka | 57.0891 | -135.344 | Fixed | 2019-06-20 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS), NSF and others (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | air_pressure, relative_humidity, lwe_thickness_of_precipitation_amount, surface_snow_thickness, soil_moisture_percent, air_temperature, wind_speed, wind_from_direction | Harbor Mountain weather station is located approximately 4 km (2.5 mi) NNE of Sitka, AK on a ridge between Cascade Creek and Granite Creek drainage basins that forms the western flank of Harbor Mountain. This station exists because of funding from the State of Alaska and the National Science Foundation, and cooperation among multiple agencies, including US Forest Service - Sitka Ranger District, US National Parks Service - Sitka National Historic Park, US Coast Guard - Air Station Sitka, Sitka Sound Science Center, the Rand Corporation, and the City of Sitka.
AOOS | mt-doran |  | Mt. Doran | MET Station on Mt. Doran in NW Prince William Sound, AK | 61.0288 | -148.2342 | Fixed | 2021-08-04 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS), USGS (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | dew_point_temperature, relative_humidity, air_temperature, wind_speed_15_minute_average, wind_speed_15_minute_max, wind_speed_instantaneous, wind_from_direction_instantaneous, | Mt. Doran weather station (a.k.a. Barry Arm Repeater (BAR)) is located on the north flank of Mt. Doran, northwest Prince William Sound, Alaska. This station serves as a telemetry repeater for other instrumentation in the area and was funded through a cooperative agreement with USGS.
AOOS | mount-riley-1 |  | Mount Riley | MET and Cliimate Station on Mount Riley in SE AK, near Haines | 59.2156 | -135.4114 | Fixed | 2021-06-24 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) and others (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | air_pressure, lwe_water_evaporation_rate, relative_humidity, panel_temperature, lwe_thickness_of_precipitation_amount, surface_albedo, longwave_radiation_incoming, longwave_radiation_outgoing, atmosphere_net_rate_of_absorption_of_energy, short_wave_radiation_incoming, short_wave_radiation_outgoing, solar_irradiance_clear_sky, surface_snow_thickness, soil_moisture_percent, air_temperature, soil_temperature, wind_speed_15_minute_average, wind_speed_15_minute_max, wind_speed, wind_from_direction | Mount Riley weather station is located approximately 3 km (1.8 mi) SE of Haines, AK, near the top of Mount Riley. This station exists because of funding from the State of Alaska and cooperation among multiple agencies, including Alaska Department of Military and Veterans Affairs – Division of Homeland Security and Emergency Management, US Forest Service, Alaska Division of Parks and Outdoor Recreation, Haines Avalanche Center, Alaska Department of Transportation and Public Facilities, Alaska Division of Forestry, and the Haines Borough.
AOOS | scott-glacier |  | Scott Glacier | MET and Climate Station on Scott Glacier | 69.6836 | -145.1361 | Fixed | 2015-02-04 | Y | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) and others (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | air_pressure, relative_humidity, solar_irradiance_in, solar_irradiance_out, air_temperature, air_temperature_secondary | Scott Glacier high-elevation weather station is located approximately 37 km (23 mi) NE of Cordova, AK in the Scott Glacier drainage basin. This station exists because of the cooperation of multiple agencies. CRREL provided all of the station components, DGGS and UAF provided technical and logistical support, USGS contributed to logistics, and the Prince William Sound Science Center in Cordova provided facilities for staging equipment. Continued operation of this station is possible through support from CRREL and DGGS's Climate and Cryosphere Hazards Program.
AOOS | cape-spencer-ak |  | Cape Spencer, AK | UNAVCO GNSS Reciever AB43 - GPS for GNSS-Refelctometry water level | 58.1988 | -136.6408 | Fixed | 05/22/2007 (station install date); 04/26/21 (start of water level data conversion) | Y | UNAVCO, NSF | Yp | UNAVCO (platform), Orion Space solutions (formerly ASTRA) (WL conversion software) | nonprofit, Research | UNAVCO | UNAVCO (for raw GPS data and Rinex); AOOS for convereted water level | sea_surface_height_above_sea_level | AOOS contracted with ASTRA LLC to prepare portable code for Axiom to convert the GNSS data to water level. Water level data currently on the portal are releative to the GPS antenna. We need to adjust the data to a MLLW / Datum and resolve many drop outs in the datastream (probably due to satellite signal issues, but some due to plotting algorithm). Water level reported with respect to the antenna height. Funding - Yf (AOOS funded the installation); Yp UNAVCO is payin for data filtration costs
AOOS | peterson-bay-ak-gnss-r |  | Peterson Bay, AK | UAF Geophysical Institute (GI) GPS - GNSS-Reflectometry water level | 59.5727 | -151.2722 | Fixed | 12/31/2016 (first data available date) | Y | UAF GI | Yp | UAF GI (Platform), JOA Survyes (Data converion provider) | Research, nonprofit | UAF GI | JOA Surveys (they are converted raw GNSS data to produce water level with respect to the antenna height) | sea_surface_height_above_sea_level | AOOS has contracted with JOA Surveys to provide real time water level conversions from this GNSS-R station. The data currently are not corrected to a datum (MLLW), rather are raw water level conversions with respect to the antenna height. Funding - N (install, OnM); Y (AOOS is paying JOA Surveys for conversion and providing real time GNSS-R converted water level data)
AOOS | st-michaels-bay-ak |  | St. Michaels Bay, AK | UNAVCO GNSS Reciever AT01 - GPS for GNSS-Refelctometry water level | 63.484 | -162.0064 | Fixed | 05/26/2018 (station install date); 04/27/21 (start of water level data conversion) | Y | AOOS, UNAVCO | Yf | UNAVCO (platform), Orion Space Sollutions (formerly ASTRA) (WL conversion software) | nonprofit, Research | UNAVCO | UNAVCO (for raw GPS data and Rinex); AOOS/Axiom for convereted water level | sea_surface_height_above_sea_level | AOOS contracted with ASTRA LLC to prepare portable code for Axiom to use to convert the GNSS data to water level. Water level data currently on the portal are releative to the GPS antenna. We need to adjust the data to a MLLW / Datum and resolve many drop outs in the datastream (probably due to satellite signal issues, but some due to plotting algorithm). Water level currently plotted with respect to the antenna height. Funding - Yf (AOOS funded the installation); Yp UNAVCO is payin for data filtration costs
AOOS | utqiagvik-ak |  | Utqiagvik, AK | Orion Space Solutions GNSS-Reflectoometry water level | 71.315 | -156.7216 | Fixed | 2021-09-28 | Y | AOOS | Yf | Orion Space Solutions (formerly ASTRA) | Private | Orion Space Solutions, AOOS | AOOS, Orion Space Solutions | sea_surface_height_above_sea_level | AOOS owns the sensor purchased from Orion Space Solutions. These data are experimental water level derivations using satellite data. Orion Space Solutions provides Axiom with the derived water level measurements directly. Raw data are displayed as the default, and are plotted relative to the GPS antenna (not leveled with respect to MLLW). The corrected data can be displayed by toggling Devices to MLLW above the chart. JOA Surveys provided the MLLW for leveling for the corrected data based on five benchmarks in the area.
AOOS | urn:ioos:station:gov.noaa.water:BETA2 | BETA2 | Kuskokwim River at Bethel | Bethel Brown Slough Bridge Water Level | 60.7933 | -161.7456 | Fixed | 2015-05-15 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Water Resources Regions, NWS (Owner, Publisher), NOAA Alaska-Pacific River Forecast Center (APRFC) (Affiliate) | height, water_surface_height_above_reference_datum | Data processed and accessed thru NOAA Water Resources Regions, National Weather Service; https://water.weather.gov/ahps2/hydrograph.php?gage=BETA2&wfo=pafc2
AOOS | deering-alaska-water-level | DRTA2 | Deering, Alaska, Water Level | Deering Water Level | 66.0746 | -162.7215 | Fixed | Original 09/06/2018; Reinstalled June 2021 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | sea_surface_height_above_sea_level | This station was originally installed in September 2018 but failed. It was not reinstalled until June of 2021 so was not on the 2019-2020 RA Asset Inventories. Data can also be found at the NOAA APRFC website: https://water.weather.gov/ahps2/hydrograph.php?wfo=pafg3&gage=drta2
AOOS | dillingham-water-level-gauge-2 |  | Dillingham Water Level Gauge 2 (Radar) | Water Level - NWLON Lite (Tier B) | 59.0375 | -158.4651 | Fixed | 2022-03-28 | Y | AOOS | Yf | AOOS | non-profit | JOA Surveys, AOOS | JOA Surveys, AOOS | sea_surface_height_above_sea_level | Install completed end of Nov 2021, but non-iced data not reporting until March 2022. There are two water level gauges using two different technologies currently deployed at Dillingham, AK — Gauge 1 and Guage 2. Having two gauges is typical practice for long term stations so there is redundancy in the observations in order to reduce the potential for data gaps.Despite this redundancy, Dillingham is an extremely challenging site since the dock goes dry, making data gaps still likely and expected, even with redundant technologies. Gauge 1 is a bubbler system secured to the seawall. It goes dry during spring tides, and also can freeze-up during winter. Gauge 2, is a downward looking radar that is co-located with Gauge 1, and also secured to the seawall. During winter, ice fast to the seawall can block the radar's view of the water, invalidating measurements until after the ice goes away. For both gauges, care should be taken to verify data collected during the months of October through April.
AOOS | homer-ramp-8 |  | Homer Ramp 8, Alaska, Water Level | Homer Ramp 8 Water Level (Tier C) | 59.6055 | 151.4221 | Fixed | 2020-07-23 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | Stillwater Technologies, AOOS, Axiom Data Science | sea_surface_height_above_sea_level | This Stillwater Technologies iGage began collecting data on July 24, 2020. It was installed on a wood post pier. The datum was previously established at this location in April, 2019 by JOA Surveys, LLC. JOA used their own calculator on data collected between September and November, 2019. On 8/4/2022, the previous iGage sensor was replaced with an iRadar. On 11/21/2022, the previous iRadar sensor was replaced with an iGage. To see all the Tier C water level data stations in the AWLW Portal, https://water-level-watch.portal.aoos.org/#search?type_group=sensor_stations&tag¦tag=tier-c&page=1
AOOS | kipnuk-alaska-water-level | KIPA2 | Kipnuk, Alaska, Water Level | Kipnuk Water Level (Tier C) | 59.939 | -164.0371 | Fixed | 2022-06-20 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | Stillwater Technologies, AOOS, Axiom Data Science | sea_surface_height_above_sea_level | This Stillwater Technologies iGage was installed on on June 20 , 2022. The datum was previously established at this location and is published by NOAA.
AOOS | kivalina-alaska-water-level |  | Kivalina, Alaska, Water Level | Kivalina Water Level (Tier C) | 67.7308 | -164.5434 | Fixed | 2022-06-02 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | Stillwater Technologies, AOOS, Axiom Data Science | sea_surface_height_above_sea_level
AOOS | kotzebue-alaska-water-level | KZTA2 | Kotzebue, Alaska, Water Level | Kotzebue on Stevens Way Bridge Water Level (Tier C) | 66.895 | -162.5668 | Fixed | 9/5/2018. Re-installed June 2021; Redeployed June 2022. | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | sea_surface_height_above_sea_level | This station has had multiple previous deployments between Nov 16, 2016 and Jun 28, 2021. On June 8, 2022, a field team traveled to Kotzebue to replace the sensor with a Stillwater Technologies iGageX and re-establish the site. Keith Horen computed tidal datums using the Alaska Today Datum Portal, which are available in the linked Station Definition Form.On Nov. 3, 2022, ortho and station datum heights in the metadata file were updated. Data from 6/02/2022 to 11/3/2022 were reloaded. Data are also found on NOAA APRFC website: https://water.weather.gov/ahps2/hydrograph.php?wfo=pafg2&gage=kzta2
AOOS | kwigillingok-alaska-water-level | KWGA2 | Kwigillingok, Alaska, Water Level | Kwigillingok Bridge (Tier C); Installed on wood post pier by the UAF Arctic Coastal Geoscience Lab | 59.8798 | -163.1663 | Fixed | 2021-08-08 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | AK DNR and Stillwater Technologies | sea_surface_height_above_sea_level | This Stillwater Technologies iGage was installed on the Kwigillingok Bridge and began collecting data on August 18, 2021. The datum was previously established at this location using data from July–August, 2019 by NOAA. On Nov. 3, 2022, ortho and station datum heights in the metadata file were updated. Data from 4/29/2022 to 11/3/2022 were reloaded.
AOOS | naknek-ak |  | Naknek, AK | Naknek water level station (NWLON-lite Tier B) | 58.7321 | -156.9833 | Fixed | 2019-07-15 | Y | AOOS | Yf | JOA Surveys | Private | JOA Surveys | AOOS and JOA | sea_surface_height_above_sea_level
AOOS | nelson-lagoon-alaska-water-le |  | Nelson Lagoon, Alaska,, Water Level | Nelson Lagoon, Alaska, Water Level (Tier C) | 56.0041 | -161.1751 | Fixed | 2019-05-01 | Y | AOOS, ADNR, Native Village of Nelson | Yp | AK DNR, UAF-Arctic Coastal Geosciences Lab | gov_state | Alaska Department of Natural Resources | AK DNR and Stillwater Technologies | sea_surface_height_above_sea_level | This Stillwater Technologies iGage began collecting data on May 10, 2019. It was installed on a wood post pier by the UAF Arctic Coastal Geoscience Lab, but no benchmarks were used to survey the site. Richard Buzard computed tidal datums relative to station datum, which are available in the linked Station Definition Form.
AOOS | urn:ioos:station:gov.noaa.water:TNUA2 | TNUA2 | Tununak at Tununak | Airstrip Road Bridge Water Level | 60.5782 | -165.2692 | Fixed | 2015-05-05 | O | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Water Resources Regions, NWS (Owner, Publisher), NOAA Alaska-Pacific River Forecast Center (APRFC) (Affiliate) | height, water_surface_height_above_reference_datum | This system (JUDD Sensor) Stopped reporting in fall 2021, and has not been fixed. Data started to look noisy in mid-summer, but sensor appeared to bounce back intermittantly until October 2021 when it stopped report. Data reported Height data only goes to April 2018. Water Surface above Datum data runs thru October 2021. Not sure why and are looking into that as well. Data processed and accessed thru NOAA Water Resources Regions, National Weather Service, a federall service, so it has to go through them. Normally this is a federal dataset not reported on this sheet, but because we help fund the hardware and installation, we include it.
AOOS | whittier-ak |  | Passage Canal 1 N Whittier, AK, Tidal Gage | Whittier Harbor piling (Tier B) | 60.7774 | -148.6924 | Fixed | Spring 2022 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | AK DNR, JOA Surveys | NOAA Alaska-Pacific River Forecast Center (APRFC) | sea_surface_height_above_sea_level | A Judd Communications Ultrasonic Depth Sensor was installed by JOA Surveys for AOOS and AKDNR on a wooden piling in the harbor of Whittier, AK. It was installed in the spring of 2022 but data were not available until summer of 2022 (APRFC). Data is published via the NOAA NWS Advanced Hydrologic Prediction Service (AHPS) through the efforts of the Alaska-Pacific River Forecast Center, and earlier data than provided on the AOOS portal can be found on the APRFC site. https://water.weather.gov/ahps2/hydrograph.php?wfo=pafc&gage=wtga2
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1071 |  | Esther Island, SNOTEL STATION | SNOTEL station | 60.805 | -148.085 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1073 |  | Mt Eyak, SNOTEL STATION | SNOTEL station | 60.555 | -145.745 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness, snow_water_equivalent | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1074 |  | Nuchek, SNOTEL STATION (on McNeil River) | SNOTEL station | 60.335 | -146.665 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1075 |  | Port San Juan, SNOTEL STATION | SNOTEL station | 60.055 | -148.065 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1076 |  | Tatitlek, SNOTEL STATION | SNOTEL station | 60.875 | -146.675 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1087 |  | Seal Island, SNOTEL STATION | SNOTEL station | 60.435 | -147.395 | Fixed | 2005-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, relative_humidity | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1088 |  | Strawberry Reef, SNOTEL STATION | SNOTEL station | 60.235 | -144.865 | Fixed | 2005-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1095 |  | Sugarloaf Mtn, SNOTEL STATION | SNOTEL station | 61.085 | -146.295 | Fixed | 2006-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:org.inletkeeper:anchor-river |  | Cook Inletkeeper, Anchor River | Anchor River at the Old Sterling Highway Bridge in Anchor Point, Cook Inlet | 59.7724 | -151.8367 | Fixed | 2013-09-07 | Y | Cook Inletkeeper, Kenai Peninsula Fish Habitat Partnership, Western Native Trout Initiative; Installation support: Kenai Chapter of Trout Unlimited, BeadedStream LLC | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2002, Cook Inletkeeper has been collecting continuous water temperature data below the confluence of the North and South Forks.
AOOS | urn:ioos:station:org.inletkeeper:deshka-river |  | Cook Inletkeeper, Deshka River (Kroto Creek) | Deshka River (alias: Kroto Creek), Cook Inlet | 61.7675 | -150.3399 | Fixed | 2013-09-09 | Y | Cook Inletkeeper: Installation support from BeadedStream LLC, AK Fish and Game | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2008, Cook Inletkeeper has been collecting water temperature data on the lower Deshka River below the ADF&G weir.
AOOS | urn:ioos:station:org.inletkeeper:russian-river |  | Cook Inletkeeper, Russian River | Russian River, 3 miles upstream on the Russian River Falls Trail below the lower lake. | 60.453 | -149.9868 | Fixed | 2016-10-14 | Y | Cook Inletkeeper, Kenai Peninsula Fish Habitat Partnership | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2002, Cook Inletkeeper has been collecting continuous water temperature data in non-glacial streams across the Cook Inlet watershed, but not on Russian River.
AOOS | cape_st_elias |  | Cape St. Elias | Weather station on Copper Delta area | 59.7983 | -144.5999 | Fixed | 2014-12-03 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | nonprofit | PWSRCAC, MicroSspecialties (private industry) | Not sure, but web site links to Microspecialties (http://denali.micro-specialties.com/CapeStElias/). | air_pressure, air_temperature, relataive_humdity, solar_irradiance, wind_speed_of_gust, wind_speed, wind_from_direction, battery_voltage | Data start on the portal is December 31, 2014
AOOS | valdez_marine_terminal_weathe |  | Valdez Marine Terminal Weather Buoy | Weather/waves/current buoy in the Port of Valdez area | 61.091 | -146.3766 | Moored Buoy | 2019-09-21 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | nonprofit | PWSRCAC, PWSSC | PWSSC | air_pressure, sea_water_velocity_to_direction, sea_water_speed, eastward_sea_water_velocity, northward_sea_water_velocity, upward_sea_water_velocity, relative_humidity, solar_irradiance, sea_water_pressure, air_temperature, sea_water_temperature, sea_surface_wave_directional_spread, sea_surface_wave_period_at_variance_spectral_density_maximum, sea_surface_wave_from_direction, sea_surface_wave_maximum_height, sea_surface_wave_significant_height, wind_speed_of_gust, wind_speed, wind_from_direction, | Installed in 2019, but AOOS was not hosting data until 2020 after the AI was submitted with the semi-annual report. AOOS Portal has data from Sep 21, 2019
AOOS | valdez_duck_flats_weather_buo |  | Valdez Duck Flats Weather Buoy | Weather/waves/current buoy in the Port of Valdez area | 61.1225 | -146.2967 | Moored Buoy | 2019-09-21 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | Non-Profit | PWSRCAC, PWSSC | PWSSC | air_pressure, sea_water_velocity_to_direction, sea_water_speed, eastward_sea_water_velocity, northward_sea_water_velocity, upward_sea_water_velocity, relative_humidity, solar_irradiance, sea_water_pressure, air_temperature, sea_water_temperature, sea_surface_wave_directional_spread, sea_surface_wave_period_at_variance_spectral_density_maximum, sea_surface_wave_from_direction, sea_surface_wave_maximum_height, sea_surface_wave_significant_height, wind_speed_of_gust, wind_speed, wind_from_direction, | Installed in 2019, but AOOS was not hosting data until 2020 after the AI was submitted with the semi-annual report. AOOS Portal has data from Sep 21, 2019
AOOS | camel-bay-inner-wave-buoy |  | Camel Bay Inner Wave Buoy | SOFAR Spotter Wave Buoy - Inner Camel Bay, Adak Island | 51.7051 | -176.5985 | Moored Buoy | 2022-08-15 | Y | NSF, UNCW-CMS | N | University of North Carolina (UNC), CMS | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project buoy not funded by AOOS
AOOS | camel-bay-outer-wave-buoy |  | Camel Bay Outer Wave Buoy | SOFAR Spotter Wave Buoy - Outer Camel Bay, Adak Island | 51.6835 | -176.5879 | Moored Buoy | 2022-08-15 | O | NSF, UNCW-CMS | N | University of North Carolina (UNC), CMS | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | camel-bay-adak-island-ak |  | Camel Bay Weather Station, Adak Island, AK | MET Station in Camel Bay, Aleutian Islands, Adak Island | 51.708 | 176.6062 | Fixed | 2022-08-16 | Y | NSF, UNCW-CMS | N | University of North Carolina (UNC), CMS | Academic | University of North Carolina, Willimington (UNCW) | UNCW | air_pressure, dew_point_temperature, relative_humidity, air_temperature, wind_speed_of_gust, wind_speed, wind_from_direction | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | quail-bay-inner-wave-buoy |  | Quail Bay Inner Wave Buoy | SOFAR Spotter Wave Buoy - Inner Quail Bay | 51.7564 | -176.3308 | Moored Buoy | 2022-08-16 | Y | NSF, UNCW-CMS | N | University of North Carolina (UNC), CMS | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project buoy not funded by AOOS
AOOS | quail-bay-outer-wave-buoy |  | Quail Bay Outer Wave Buoy | SOFAR Spotter Wave Buoy - Outer Quail Bay | 51.7383 | -176.3032 | Moored Buoy | 2022-08-16 | Y | NSF, UNCW-CMS | N | University of North Carolina (UNC), CMS | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | skan-bay-inner-wave-buoy |  | Skan Bay Inner Wave Buoy | SOFAR Spotter Wave Buoy in Skan Bay (inner bay) | 53.6151 | -167.0489 | Moored Buoy | 2021-08-27 | Y | NSF, UNCW-CMS | N | UNCW-Coastal Ocean Research and Monitoring Program (CORMP) | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | skan-bay-outer-wave-buoy |  | Skan Bay Outer Wave Buoy | SOFAR Spotter Wave Buoy in Skan Bay (outer bay) | 53.6315 | -167.0598 | Moored Buoy | 2021-08-27 | Y | NSF, UNCW-CMS | N | UNCW-Coastal Ocean Research and Monitoring Program (CORMP) | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | skan-bay-unalaska-island-ak |  | Skan Bay Weather Station, Unalaska Island, AK | MET Station in Skan Bay, Unalaska, AK | 53.6185 | -167.0628 | Fixed | 2022-08-16 | Y | NSF, UNCW-CMS | N | UNCW-Coastal Ocean Research and Monitoring Program (CORMP) | Academic | University of North Carolina, Willimington (UNCW) | UNCW | air_pressure, dew_point_temperature, relative_humidity, air_temperature, wind_speed_of_gust, wind_speed, wind_from_direction | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | shagak-bay-inner-wave-buoy |  | Shagak Bay Inner Wave Buoy | SOFAR Spotter Wave Buoy in Shagak Bay | 51.8744 | -176.7443 | Moored Buoy | 2022-08-12 | Y | NSF, UNCW-CMS | N | UNCW-Coastal Ocean Research and Monitoring Program (CORMP) | Academic | University of North Carolina, Willimington (UNCW) | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | NSF Bering Sea Storms Project, Sea Level Research Lab, UNCW-CMS, Project Buoy not funded by AOOS
AOOS | st-paul-island-wave-buoy |  | St. Paul Island Wave Buoy | SOFAR Spotter Wave Buoy in Skan Bay (outer bay) | 57.1208 | -170.3825 | Moored Buoy | 2022-09-20 | O | University of Alaksa, Fairbanks Geophysical Institute | N |  | Academic | UAF GI | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | Project buoy deployments for which AOOS is sharing data on the Data Portal but is not funding.
AOOS | noaa_nos_co_ops_9454050 | CRVA2 | Cordova, AK | NOAA NWLON station in Cordova equipped with AOOS Funded CTD sensor | 60.5583 | -145.755 | Fixed | Tide Gage: 08/31/78; NWLON CTD installed 11/03/2013 | Y | NOAA CO-OPS, AOOS | Yp | NOAA _NWLON | Federal | PWSSC-Prince William Sound Science Center | NOAA CO-OPS | air_pressure, sea_water_electrical_conductivity, sea_water_practical_salinity, air_temperature, sea_water_temperature, sea_surface_height_amplitude_due_to_geocentric_ocean_tide, sea_surface_height_above_sea_level, wind_speed_of_gust, wind_speed, wind_from_direction | I have added this station so IOOS knows that AOOS funded and is supporting all the CTD obsevations at this site in cooperation with NOAA CO-OPS. CTD was installed in 2013.
AOOS | noaa_nos_co_ops_9454240 | VDZA2 | Valdez, AK | NOAA NWLON station in Valdez Harbor equipped with AOOS Funded CTD sensor | 61.1242 | -146.3631 | Fixed | Tide gage: 04/16/73; NWLON CTD installed 10/13/2022 | Y | NOAA CO-OPS, AOOS | Yp | NOAA _NWLON | Federal | PWSRCAC - Prince William Sound Regional Citizens Advisory Council | NOAA CO-OPS | air_pressure, sea_water_electrical_conductivity, sea_water_practical_salinity, air_temperature, sea_water_temperature, sea_surface_height_amplitude_due_to_geocentric_ocean_tide, sea_surface_height_above_sea_level, wind_speed_of_gust, wind_speed, wind_from_direction | I have added this station so IOOS knows that AOOS funded and is supporting all the CTD obsevations at this site in cooperation with NOAA CO-OPS. CTD installed in 2022.

## IOOS Removals
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | urn:ioos:station:edu.oregonstate:burkolator |  | Alutiiq Pride Shellfish Hatchery Burke-o-Lator | ALUTIIQ PRIDE SHELLFISH HATCHERY, SEWARD AK | 60.0992 | -149.4428 | Fixed | 1905-07-05 | N - not since 2020 | IOOS OTT, BIA, AOOS, NOAA-OAP | Yp | Alutiiq Pride Shellfish Hatchery | Industry | Alutiiq Pride SH, Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | Stopped reporting real time November 2020. Not sure what the situation is at this station. Askin OA Network Coordinator to track down the status.
AOOS | valdez-glacier | 2015 | Valdez Glacier | MET and Climate Station on Valdez Glacier | 61.2369 | -146.2476 | Fixed | 02/04/205 | N - not since 2020 | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) and others (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | air_pressure, relative_humidity, solar_irradiance, air_temperature, air_temperature_secondary | Valdez Glacier high-elevation weather station is located approximately 12 km (7.5 mi) NNE of Valdez, AK on a ridge between Valdez Glacier and Mineral Creek drainage basins. This station exists because of the cooperation of multiple agencies. CRREL provided all of the station components, DGGS and UAF provided technical and logistical support, USGS contributed to logistics, and the Prince William Sound Science Center in Cordova provided facilities for staging equipment. Continued operation of this station is possible through support from the City of Valdez, CRREL, and DGGS's Climate and Cryosphere Hazards Program.
AOOS | nelson-lagoon-inner-wave-buoy | New 2021 | Nelson Lagoon (Inner) Wave Buoy | SOFAR Spotter Wave Buoy - Nelson Lagoon Community Deployment | 56.0014 | -161.2119 | Moored Buoy | 2021-10-04 | Y, O (seasonal) | EPA IGAP | N | Nelson Lagoon (community) and UAF (Chris Maio) | Academic, Private | Nelson Lagoon Community and UAF- Arctic Coastal Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | These are seasonal buoy deployments, and this was the first year trial with a community partner. Plan to redeploy in spring once ice free.
AOOS | nelson-lagoon-outer-wave-buoy | New 2021 | Nelson Lagoon (Outer) Wave Buoy | SOFAR Spotter Wave Buoy - Nelson Lagoon Community Deployment | 56.0013 | -161.212 | Moored Buoy | 2021-11-14 | Y, O (seasonal) | EPA IGAP | N | Nelson Lagoon (commumity) and UAF (Chris Maio) | Academic, Private | Nelson Lagoon Community and UAF- Arctic Coastal Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | These are seasonal buoy deployments, and this was the first year trial with a community partner. Plan to redeploy in spring once ice free.
AOOS | naknek-wave-buoy | New 2021 | Naknek Wave Buoy | SOFAR Spotter Wave Buoy in Naknek Harbor | 58.6191 | -157.3527 | Moored Buoy | 11/14/2021 (need to get install date) | Y, O (seasonal) | Alaska Sea Grant - NOAA | N | UAF-Arctic Coastal Geoscience Lab (Chris Maio) | Academic | UAF-Arctic Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | This is a seasonal buoy deployment. Plan to redeploy in spring once ice free.
AOOS | dillingham-wave-buoy | New 2021 | Dillingham Wave Buoy | SOFAR Spotter Wave Buoy in Dillingham Harbor | 59.0224 | -158.5104 | Moored Buoy | 2021-05-25 | Y, O (seasonal) | Alaska Sea Grant - NOAA | N | UAF-Arctic Coastal Geoscience Lab (Chris Maio) | Academic | UAF-Arctic Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | This is a seasonal buoy deployment.Unfortuantely, buoy was hit by a boat and lost in July 2021, and not redeployed in 2021. Plan to redeploy in spring 2022 once ice free.
LEGENDS
A new station, or something newly added or important changed to spreadsheet including new or replaced sensor installations. During 2022, NDBC for example, was reporting out most of the Marine Exchange Weather data, where as in prior years, they only reporte out on a handful, so I pulled the NDBC Id codes and included them here for the 2022 inventory.
Shaded as not reporting during 2022. (I could not use the strike out feature), so grey shaded and moved a copy to the Not Reporting in 2022 worksheet. NOTE: Some of these may be reinstalled at a later time, so I keep them in the Not Reporting Log if that is the case. That is the reason for theNot Reporting in 2022 worksheet.
NOTE 2020 & 2021 | Some of the station start dates changed in the data portal records, so I reflect those changes on this version of the AI for the MXAK AIS WX stations. The dates highlighted in Yellow, and some of those may not reflect the actual install dates. I leave two dates on some, so I can reference with MXAK. I believe the portal start dates are of initialized data on the data portal. I will need to confer with MXAK to determine actual install dates, if needed. I am not sure they stored their data, so it might only be useful to know when a perm record was being made. Only the NDBC station feeds will have historical records if we we do not already host them.

## Not Reporting 2022
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | urn:ioos:station:gov.noaa.pmel:GAK_Seward |  | GAKOA-Gulf of Alaska Ocean Acidification Mooring | Resurrection Bay, Seward, Real-time OA parameters | 59.85 | -149.5 | moored_buoy | 2011-05-19 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water, sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure | Not reporting to the AOOS Portal since January 2020. No longer reporting to AOOS, to promote data version control. Data can be found at NOAA PMEL and other OA archives.
AOOS | urn:ioos:station:gov.noaa.pmel:m2 |  | Ocean Acidification Mooring M2 | Bering Sea, Real-time OA parameters | 56.87 | -164.06 | moored_buoy | 1905-07-03 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA, PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water , sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure | Not reporting to the AOOS Portal since January 2020. Not sure why. No longer reporting to AOOS, to promote data version control. Data can be found at NOAA PMEL and other OA archives.
AOOS | urn:ioos:station:org.mxak:ADAK_PORT |  | Adak Port | WEATHER (no AIS) | 51.8694 | -176.6407 | Fixed | 2015-05-05 | O | AOOS | YP | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | stopped reporting in 2018
AOOS | urn:ioos:station:org.mxak:FIVE_FINGER_LIGHT |  | Five Finger Light | AIS TRANSCEIVER WITH WEATHER | 57.2702 | -133.6316 | Fixed | 2015-07-02 | O | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Stops in Oct 2017
AOOS | urn:ioos:station:org.mxak:WALES |  | Wales | AIS TRANSCEIVER WITH WEATHER | 65.605 | -168.0864 | Fixed | 1/23/2009; 05/05/15 | O | MXAK | YP | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Went offline due to sensor failure Nov 11, 2020; No travel in 2021 for repairs. Plan to fix in 2022
AOOS | urn:ioos:station:org.mxak:KAKTOVIK |  | Kaktovik | AIS STATION WITH WEATHER | 70.1276 | -143.6159 | Fixed | 08/01/18; 12/12/2018 | O | AOOS | YP | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | This stopped reporting in Feb 2020. Plans are to replace, but COVID resrictions in 2020 and 2021. Leaving it here in case it goes in during 2022.
AOOS | urn:ioos:station:org.oceanalaska:ketchikan |  | Ketchikan Harbor Oceans AK Burkolator | Ketchikan Harbor, Oceans Alaska Facility Burkolator | 55.3156 | -131.5938 | Fixed | 8/29/2016; 09/12/18 | O | IOOS OTT, NOAA-OAP, UAF-OARC | YP | Hakai Institute | nonprofit | Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent |  | COVID travel restrictions prevented bringing this online. Plans for technician to travel to Ketchikan in 2022 to put this BOL back online. Pending.
AOOS | urn:ioos:station:edu.oregonstate:burkolator |  | Alutiiq Pride Shellfish Hatchery Burke-o-Lator | ALUTIIQ PRIDE SHELLFISH HATCHERY, SEWARD AK | 60.0992 | -149.4428 | Fixed | 1905-07-05 | O | IOOS OTT, BIA, AOOS, NOAA-OAP | Yp | Alutiiq Pride Shellfish Hatchery | Industry | Alutiiq Pride SH, Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | Stopped reporting real time November 2020.
AOOS | nelson-lagoon-inner-wave-buoy | New 2021 | Nelson Lagoon (Inner) Wave Buoy | SOFAR Spotter Wave Buoy - Nelson Lagoon Community Deployment | 56.0014 | -161.2119 | Moored Buoy | 2021-10-04 | Y, O (seasonal) | EPA IGAP | N | Nelson Lagoon (community) and UAF (Chris Maio) | Academic, Private | Nelson Lagoon Community and UAF- Arctic Coastal Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | These are seasonal buoy deployments, and this was the first year trial with a community partner. Plan to redeploy in spring once ice free.
AOOS | nelson-lagoon-outer-wave-buoy | New 2021 | Nelson Lagoon (Outer) Wave Buoy | SOFAR Spotter Wave Buoy - Nelson Lagoon Community Deployment | 56.0013 | -161.212 | Moored Buoy | 2021-11-14 | Y, O (seasonal) | EPA IGAP | N | Nelson Lagoon (commumity) and UAF (Chris Maio) | Academic, Private | Nelson Lagoon Community and UAF- Arctic Coastal Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | These are seasonal buoy deployments, and this was the first year trial with a community partner. Plan to redeploy in spring once ice free.
AOOS | naknek-wave-buoy | New 2021 | Naknek Wave Buoy | SOFAR Spotter Wave Buoy in Naknek Harbor | 58.6191 | -157.3527 | Moored Buoy | 11/14/2021 (need to get install date) | Y, O (seasonal) | Alaska Sea Grant - NOAA | N | UAF-Arctic Coastal Geoscience Lab (Chris Maio) | Academic | UAF-Arctic Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | This is a seasonal buoy deployment. Plan to redeploy in spring once ice free.
AOOS | dillingham-wave-buoy | New 2021 | Dillingham Wave Buoy | SOFAR Spotter Wave Buoy in Dillingham Harbor | 59.0224 | -158.5104 | Moored Buoy | 2021-05-25 | Y, O (seasonal) | Alaska Sea Grant - NOAA | N | UAF-Arctic Coastal Geoscience Lab (Chris Maio) | Academic | UAF-Arctic Geoscience Lab | SOFAR OCEAN | sea_surface_wave_significant_height, sea_surface_wave_from_direction, sea_surface_wave_period_at_variance_spectral_density_maximum, wind_speed, wind_from_direction, sea_surface_wave_mean_period, sea_surface_wave_directional_spread, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, sea_surface_wave_from_direction_at_variance_spectral_density_maximum | This is a seasonal buoy deployment.Unfortuantely, buoy was hit by a boat and lost in July 2021, and not redeployed in 2021. Plan to redeploy in spring 2022 once ice free.
AOOS | valdez-glacier | 2015 | Valdez Glacier | MET and Climate Station on Valdez Glacier | 61.2369 | -146.2476 | Fixed | 02/04/205 | N - not since 2020 (COVID) | Alaska Department of Natural Resources - Division of Geological & Geophysical Surveys (AKDNR-DGGS) and others (see comments) | N | AKDNR-DGGS | gov_state | AKDNR-DGGS | AKDNR-DGGS | air_pressure, relative_humidity, solar_irradiance, air_temperature, air_temperature_secondary | Valdez Glacier high-elevation weather station is located approximately 12 km (7.5 mi) NNE of Valdez, AK on a ridge between Valdez Glacier and Mineral Creek drainage basins. This station exists because of the cooperation of multiple agencies. CRREL provided all of the station components, DGGS and UAF provided technical and logistical support, USGS contributed to logistics, and the Prince William Sound Science Center in Cordova provided facilities for staging equipment. Continued operation of this station is possible through support from the City of Valdez, CRREL, and DGGS's Climate and Cryosphere Hazards Program.

## Tows and surveys
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | Seward Line |  | Seward Line Data, CTD | Shiboard CTD surveys, sampled twice per year since 2006, but data exist before 2006. | 59.845 to 58.098334 | lon -149.46667 to - 147.01 | Ship | 1997-10-10 | Y | AOOS, Exxon Valdez Oil Spill Trustees Council (EVOSTC) | Yp | UAF_CFOS | Academic | UAF_CFOS | AOOS | water column parameters (multi-depth): sea_water_pressure, sea_water_electrical_conductivity, sea_water_temperature, chlorophyll_fluorescence, beam transmission, PAR/Irradiance, dissolved_oxygen, altimeter, sea_water_density (variables), sea_water_practical_salnity | so far, AOOS serves data from 2012-2016 and is ongoing; there are also zoo and phyto plankton data for these
AOOS | Seward Line OA Sampling |  | Seward Line Data, Ocean Acidification Sampling | 10 year OA sampling, shipboard sampling twice per year, 2008-2017 | 59.845 to 58.098333 | lon -149.46667 to - 147.00 | Ship | 1905-06-30 | Y | AOOS | Yf | UAF_OARC | Academic | UAF_OARC | AOOS, NOAA PMEL | water column parameters (muulti-depth): partial_pressure_of_carbon_dioxide_in_sea_water, Aragonite Saturation, sea_water_temperature, sea_water_salinity, sea_water_dissolved_oxygen, sea_water_alkalinity_expressed_as_mole_equivalent (total _lkalinity), sea_water_ pH | Not sure ontology for PAR, Beam Transimission (KB: Don't worry about it).
AOOS |  |  | Prince William Sound, CTD Surveys | EVOSTC Gulf Watch, Prince William Sound Science Center | 59.975407 to 61.26107 | lon -148.51602 to -145.94562 | Ship | 2009 | Y | Exxon Valdez Oil Spill Trustees Council (EVOSTC), Gulf Watch Program | N | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | AOOS as part of EVOSTC GWA and HRM | water column parameters (multi-depth): sea_water_temperature, sea_water_electrcial_conductivity, sea_water_practical_salinity, sea_water_density, sea_water_pressure, water_depth, nitrate, phosphate, Chlorophyll_a, silicate, zooplankton | Data in AOOS 03/2013-*; Oceanographic conditions in Prince William Sound
AOOS |  |  | Prince William Sound, Conitinuous Plankton Recordrer (CPR) | EVOSTC Gulf Watch, with SAHFOS | 59.975407 to 61.26108 | lon -148.51602 to -145.94563 | towed_underwater_vehicle | 2000 | Y | Exxon Valdez Oil Spill Trustees Council (EVOSTC), NPRB, Canada DFO, Sir Alister Hardy Foundation for Ocean Sciences | N | Sir Alister Hardy Foundation for Ocean Sciences, Sonia Batten, soba@sahfos.ac.uk | Academic | Sonia Batten, soba@sahfos.ac.uk | AOOS as part of EVOSTC GWA and HRM | water column parameters (multi-depth): sea_water_temperature, plankton (for full taxonomic information refer to WoRMS (World Register of Marine Species): http://www.marinespecies.org/) | Continuous Plankton Recorders aret towed vehicles
AOOS |  |  | Alaska OA FERRY | Continuous monitoring between Bellingham, WA to Skagway, AK (a round trip of 1,854 miles per week) | 48.7215 to 59.4498 | lon -122.5127 to -135.3244 |  | 2017-11-01 | Y | The Hakai Institute, AOOS, Alaska Coastal Rainforest Center at the University of Alaska Southeast, the Alaska Department of Transportation and Public Facilities | Yp | The Hakai Inst and JIASO/PMEL | Research | Hakai Inst, Wiley Evans | Hakai Inst. | sea_water_temperature, sea_water_salinity, sea_water_dissolved_oxygen, partial_pressure_of_carbon_dioxide_in_sea_water | THIS WAS MISSING FROM THE LIST IN 2017 and 2018 b/c it is not reporting data realtime. AOOS expects a data release in 2020. https://aoos.org/alaska-ocean-acidification-network/ferry/
AOOS | Seward Line - Continued Subsampled OA for mooring QC, inter-labaraotry comparisons and Seward Line anchor OA stations. |  |  | Shiboard CTD surveys, sampled twice to three times per year. | 59.845 to 58.098333 | lon -149.46667 to - 147.00 | Ship | 2018-07-01 | Y | AOOS | Yf | University of Alaska, CFOS, Fairbanks | Academic | UAF-CFOS | AOOS | OA variables from water samples collected and analyzed by both OARC and Burke Hales at OSU (2018), then by Claudine Hauri Lab in 2019-20. Water samples will be compared to check for data quality comparisons.
Something Newly added to spreadsheet

## New stations coming in 2023
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS |  |  | Shishmaref | Weather, AIS |  |  | Fixed |  |  | AOOS | Yp | Marine Exchange of Alaska | non-profit | MXAK | MXAK, AOOS |  | Planned install 2023
AOOS |  | KOZA2 | Kotzebue | Weather, AIS | 66.901 | -162.589 | Fixed |  | Y | MXAK |  | Marine Exchange of Alaska | nonprofit | MXAK | MXAK, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS |  | PCXA2 | Point Craven | Weather, AIS | 57.463 | -134.867 | Fixed |  |  | MXAK |  | Marine Exchange of Alaska | non-profit | MXAK | MXAK, AOOS
AOOS |  | SLXA2 | Salmon Landing | Weather, AIS | 55.34 | 131.644 | Fixed |  |  | MXAK |  | Marine Exchange of Alaska | non-profit | MXAK | MXAK, AOOS
AOOS |  | SRXA2 | Statter Harbor | Weather, AIS | 59.383 | -134.652 | Fixed |  |  | MXAK |  | Marine Exchange of Alaska | non-profit | MXAK | MXAK, AOOS
AOOS |  |  | Wrangle | Weather, AIS |  |  | Fixed |  |  | MXAK |  | Marine Exchange of Alaska | non-profit | MXAK | MXAK, AOOS

## Definitions
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
RA name | (Optional) Any unique digital or alphanumeric identifier assigned by the RA or affiliate (e.g. CDIP) to distinguish the station. (e.g. 204; GAK Seward, SUN2, NH-10, etc). Does NOT include the WMO ID or CMAN ID (see next column). Leave blank if none. | (Required) The World Meteorological Organization 5-digit station identifier (WMO ID) is assigned to ocean platforms (drifting buoys, moored buoys, ocean reference sites, and profiling floats). e.g. 48088. The National Weather Service 5-digit alphanumerical identifier (e.g. the National Data Buoy Center CMAN ID) is assigned to shore-based stations. (e.g. HBYC1). For special cases where an ID is not assigned, put N/A and briefly indicate why in the notes. | (Required) Station name. e.g. Red Bank - Garden Banks, Fripps Inlet, etc. | (Optional) Anything descriptive about the station. This is a freeform field. | (Required) | (Required) | (Required) A structure or vehicle designed to hold one or more sensors such that the intended oceanographic or atmospheric variable(s) can be monitored or measured in a manner designed for the ocean observing system or scientific hypotheses. Use terms listed in the IOOS Platform Vocabulary: http://mmisw.org/ont/ioos/platform (e.g. buoy, profiling buoy, moored buoy, wave buoy, fixed, offshore tower, profile) | (Required) The time when the station became operational. This can be determined by the first data record or an installation date. This indicates the first time the station was deployed - not the last or latest, but the first time - even if IOOS was not established yet. Accepted responses: Please provide a month and year (mm/yyyy). If the actual deployment date is not known then provide a year (yyyy), or "< 5 yr" (any date on/after 1/1/2013) or "> 5 yr" (any date on/before 12/31/2012) . If not available, please indicate why in the notes column. | (Required) Is the asset deployed and collecting data? Y = Yes (this includes seasonal buoys intended for redeployment). N = No (it was uninstalled/removed, or is offline with no intent to repair). O = Offline (temporary outage, with intent to repair or redeploy). U = Unknown (e.g. funding uncertainty for repair/redeployment, or operator's plans are unknown). If O or U, please indicate why in the notes column. | (Optional) A person, group, or organization’s full or partial support of the asset. (e.g. AOOS, USACE). Does not include support for data management activities. Multiple groups may be listed. | (Required) Does the RA currently fund the asset? This excludes support for data management activities. Yf = Fully funds. Yp = Partially funds. N = No funding. | (Required) IOOS Vocabulary definition: "Platform operator used as classifier or contact type; will often be the platform owner as well..." Akin to the Creator_name attribute in netCDF: "The person/organization that (primarily) collects the data." In general, the person/group/institution principally responsible for operating the station. Note that most of the time this is also the group that maintains the asset. | (Required) Use the IOOS Organization Societal Sector Vocabulary. (Academic, industry, tribal, nonprofit, gov_state, gov_federal, etc). Underscores required. http://mmisw.org/ont/ioos/sector | (Optional) The organization with the primary responsibility for providing the maintenance of the platorm/sensors today (e.g. University of Wisconsin-Milwaukee). In most cases this will be the same as the platform operator. This is the group that conducts maintenance activities - this does not include the group that funds the maintenance (that group should fall under Platform Funder/Sponsor). | (Optional) The organization that is responsible for the data management activities. This does not mean the organization that funds the data management. | (Required) A list of observed variables that are associated with each station, with the depth(s) of the each measured oceanographic variable in parentheses following the variable name. 'Depths' not required for meteorological variables. If the variable is ONLY measured at the surface and no other dpeth, you do not need to include any parentheses/depth - just state the variable name. Use CF names (http://cfconventions.org/Data/cf-standard-names/47/build/cf-standard-name-table.html), and if the variable is not available in CF then use the IOOS parameter vocabulary (http://mmisw.org/ont/ioos/parameter). Accepted responses: sea_water_temperature (1 m, 10 m, 40 m), or sea_water_temperature (sfc, 10 m, 40 m), or sea_water_temperature (sfc and 2 depths), or mass_concentration_of_chlorophyll_in_sea_water. The latter means chlorophyll is measured only at the surface. Please provide all variables for the asset in a single cell in the spreadsheet (do not separate by row). | (Optional) Any additional information that does not fit in the template that you think is relevant, or provides context.